## RAMAT403
Internal # | DESCRIPTION | MANUFACTURER | PART NUMBER | QTY | U/M | PRICE | TOTAL VALUE
| (see Bottom of the list for contact information) |  |  |  |  | (US) | (US)
| HEAT SHRINK POLYOLEFIN TUBING THIN-WALL 2:1 GP. 2" x 50FT CLEAR | FP-301-2-CL-50 | 3M | 50 | ft | 2 | 100 | Made in USA (DC 09/17/2004)
| SWITCH MODE POWER SUPPLY INPUT: 100-240 VAC or 130-160 VDC 47-63Hz 500mA OUTPUT 5VDC 3.0 | ABB | CP-E 5/3.0 | 1 | pcs | 150 | 150 | Made in China (DC 0386)
| Two-position selector switch non-illluminated with short handle Maintained (Black) | ABB | M2SS1-10B | 1 | pcs | 10 | 10 | Made in Sweden
| Three-position selector switch non-illluminated with short handle Maintained (Black) | ABB | M3SS1-10B | 1 | pcs | 10 | 10 | Made in Sweden
| POWER SUPPLY INPUT: 100/117/220/230-240VAC OUTPUT 5V at 3A (4"x5"x1 5/8") | ACDC ELECTRONICS / EMERSON | 5N3-1 | 3 | pcs | 100 | 300 | Made in USA: DC 1983 (refurbished)
| POWER SUPPLY 10V | ACOPIAN | A10TN110M | 5 | pcs | 205 | 1025 | Made in USA (refurbished)
| CONTACTOR 65A 600VAC COIL 24VAC50/60Hz 120V(1PH/3HP); 208V(3PH/15HP); 240V(1PH/10HP)(3PH/15HP); 480V(3PH/25HP); 600V(3PH/25HP) | ALLEN-BRADLEY | 400-DP50NJ3 | 4 | pcs | 50 | 200 | Made in USA: refurbished
| RELAY 15A 2 C/O (DPDT) 24VAC 50/60Hz | ALLEN-BRADLEY | 700-HD32A24 | 1 | pcs | 10 | 10 | Made in Italy
| Hub - 12 ports - Ethernet 10Base-T, Ethernet 10Base-2, Ethernet AUI (Coax) 10Mbps Half-duplex, full-duplex (IEEE 802.3 Compliant) 110/220VAC +/- 10% 0.5/0.25A 50/60 Hz | Allied Telesyn Int'l | AT-3012SL | 1 | pcs | 40 | 40 | Made in Singapore (used)
| CPU/ PROCESSOR AMD K6-2; CPU Speed 350MHz; Bus Speed 100 MHz (PGA321) | AMD | AMD-K6-2/350AFR | 1 | pcs | 40 | 40 | Made in Malaysia: DC9919
| PRECISION TRIPLE OUPUT (+/- 15V and +1V-+15V)P/S PCB | Analog Devices | 2B35K | 1 | pcs | 100 | 100 | M.C. refurb. (obsolete)
| Wideband, High Accuracy True RMS-to-DC Converter PCB (9 PINS) | Analog Devices | 442J | 9 | pcs | 98 | 882 | M.C.: 8 removed from socket + 1 unsolder (obsolete)
| Low-Cost, Versatile, 10/100KHz Freq. to Voltage Converter PCB (9 PINS) | Analog Devices | 453L | 3 | pcs | 100 | 300 | M.C.: 2 removed from socket + 1 unsolder (obsolete)
| Precision, Low Drift, Instrumentation Amplifier PCB (11 pins) | Analog Devices | 605L | 9 | pcs | 80 | 720 | M.C.: 8 removed from socket + 1 unsolder (obsolete)
| P/S Input: 105-125VAC Output: 5VDC 1A PCB | Analog Devices | 905 | 2 | pcs | 100 | 200 | M.C. refurb.
| P/S Input: 105-125VAC Output: +/- 15VDC 350mA PCB | Analog Devices | 925 | 10 | pcs | 100 | 1000 | M.C. refurb.
| SOCKET (4+5 = 9 POS.) MACHINED PCB | Analog Devices | AC1016 | 18 | pcs | 5 | 90 | M.C. refurb.
| SOCKET (4+7 = 11 POS.) MACHINED PCB | Analog Devices | AC1024 | 9 | pcs | 5 | 45 | M.C. refurb.
| LOGIC P/S +/- 15VDC 350mA PCB | Analog Devices | AC1301 | 1 | pcs | 100 | 100 | M.C. refurb.
| P/S INPUT 117VAC | Analog Devices | AD2016 | 1 | pcs | 100 | 100 | Made in USA: DC 8207 (refurbished)
| 1/2" EYE BOLT with 1/4"-40 NUT (THREADS 3/4" LG) | ANDROCK-WATFORD | 5106 | 510 | pcs | 0.5 | 255 | Made in CANADA
| HypotPlus II AC/DC WITHSTAND VOLTAGE TESTER, Max Output AC Voltage: 5KV; Output AC current: 20mA; Max Output DC Voltage: 6KV; Output DC current: 6mA | Associated Research | 5560DT | 1 | pcs | 950 | 950 | Made in USA: serial # A9470042 (refurbished)
| EMI Filter 5A 250VAC (6A 120VAC) Cap 2200pF (x2); L1: 2x 7mH); L2: 2x 7mH); Term. Type:Quick Connect 0.250" (FLANGE MOUNT) | ARCOTRONICS | F.AR.DB.3620.ZC | 1 | pcs | 50 | 50
| POWER SUPPLY 350W INPUT: 100-120VAC 50/60Hz 5.4A; 200-240VAC 50/60Hz 2.7A OUTPUT: +12V 22A MAX; +5.1V 22A MAX (rev. 06) | ASTEC | AA20910 | 8 | pcs | 50 | 400 | Made in China: DC 0004 (refurbished)
| TRANSFO INPUT: 120V 60Hz OUTPUT: 24V 20VA CLASS 3 WET; CLASS 2 NOT WET (CSA/UL) | ATC-FROST | FTC2024Q | 2 | pcs | 10 | 20 | Made in CANADA: DC 07-12-12
| POWER SUPPLY (3"x5"x1 1/8") | AUTEC | UPS51-2002 | 1 | pcs | 100 | 100 | Made in USA: DC 9926 (refurbished)
| 3.5” Steel Full Mortise Spring Hinge Single Acting (Closer body) Grade 1 / Fire Rated / UL Listed R-4667 (LB4300 Series) | BOMMER INDUSTRIES | K81071F | 40 | pcs | 5 | 200 | Made in USA
| KAPTON RECTANGLES MYLAR (34 mm ext.x 24.5 mm int.) (1K/ REEL) | BRADY | MKR-034MM-024MM | 22000 | pcs | 0.1 | 2200 | 1K/REEL
| Fuse 45 A 600 VAC/300 VDC Low Peak 1.06"x 2.38" ( Yellow) | BUSSMAN | LPJ-45SP | 2 | pcs | 40 | 80 | Made in USA
| POWER SUPPLY +5V at 500mA (5 LEADS PCB) | CALEX | 1.5.500-115 | 1 | pcs | 100 | 100 | Made in USA (pulled DC 03/94)
| 1" CORE UNIVERSAL THERMAL LABEL (500/rl) | CANADA POST CORP | 33-086-594 | 500 | pcs | 0.2 | 100 | Made in CANADA
| Switch Toggle 15A SPDT ON-OFF-ON SCREW Terminals | CARLING TECH. | 6FC54-73 | 1 | pcs | 8 | 8
| 3-Phase Monitoring Relay; Contacts:SPDT; 380-600VAC 50/60Hz; 15VA @ 600VAC / 50Hz (DIN rail) UL/CSA | CARLO GAVAZZI | DPA01CM60 | 1 | pcs | 100 | 100 | Made in Italy (refurbished)
| SSR ZS 600V 25A 4-32VDC VDE, UL/CSA | CARLO GAVAZZI | RAM1A60D25 | 2 | pcs | 25 | 50 | Made in Italy (refurbished): both mounted on H/S
| RELAY 10A 24VAC DPDT (2-form C) 14 POS w/ solder Terminals VDE, UL/CSA | CARLO GAVAZZI | RMIA0040024AC | 1 | pcs | 15 | 15 | Made in Italy (refurbished)
| 9V BATTERY CHARGER NiCd/NiMH Input: 230VAC 50Hz 5.1mA 1W; Output: 10.15VDC 15mA 0.15VA; Type FW5099 | COMPIT | EC109 | 36 | pcs | 10 | 360 | Made in Germany
| POWER SUPPLY 25W AC/DC Universal Input Switch Mode | Artesyn Technologies / Computer Products | NFS25-7629 | 1 | pcs | 150 | 150 | Made in China (refurbished)
| POWER SUPPLY Input: 100/120/215/230-240VAC 50-60Hz; Output: 24VDC @ 2.4A | CONDOR | HC24-2.4-A+ | 1 | pcs | 50 | 50 | Refurbished (Made in Mexico)
| POWER SUPPLY Input: 100/120/215/230-240VAC 47-63Hz; Output: 48VDC @ 1A | CONDOR | HC48-1-A+ | 1 | pcs | 50 | 50 | Refurbished (Made in Mexico)
A0298525 | CONN DB25 MALE FLAT CABLE (GREY)(25/box) | CONEC CORP. | 161J13519X | 72 | pcs | 4.5 | 324 | Made in Germany
| AIR HOSE ASSY 3/16" ID w/ 1/8" NPT FITTINGS at each end (6FT) | COOPER POWER TOOLS | A139856 | 1 | pcs | 20 | 20 | Made in USA: DC 1999
| EMI Filter 5A 250VAC (6A 120VAC) Cap 1.5uF + 0.47uF (x2); Ind. 2x (45.2mH + 1.6mH); 5 lead wires 6" long (FLANGE MOUNT) | CORCOM | 6EHQ3 | 1 | pcs | 75 | 75 | Made in Mexico
| EMI Filter 5A 250VAC (6A 120VAC) Cap 1.5uF + 0.54uF (x2); Ind. 2x (45.2mH + 1.6mH); Term. Type:Quick Connect 0.250" (FLANGE MOUNT) | CORCOM | 6EQ1 | 1 | pcs | 50 | 50 | Made in Mexico: Refurbished
| SOLID STATE RELAY INPUT 4-32V, Output 48-660VAC 25A | CROUZET/CRYDOM | 84134310 | 1 | pcs | 20 | 20
| SOLID STATE RELAY INPUT 3-32V, Output 240VAC 75A | CROUZET/CRYDOM | D2475 | 1 | pcs | 20 | 20 | Refurbished (Made in Mexico)
| RELAY SOCKET 8 POS. 12A 300VAC 4PDT DIN RAIL (BLACK) UL/CSA/CE | CUSTOM CONNECTOR | ES15/2N | 2 | pcs | 5 | 10 | Made in Italy (refurbished)
| METER | DIGITEC/ United SYSTEMS Corp. | 8151-20323 | 1 | pcs | 100 | 100 | Made in USA: S/N 13857508 (refurbished)
| FAN 12V DC 12V DC BRUSHLESS SENSBLOW 1.2A (rated 2A) (120MM X 120MM X 32MM) UL/CSA/CE | DELTA ELECTRONICS | BFC1212B | 15 | pcs | 10 | 150 | Made in CHINA (refurbished): DC8926
| RELAY 3PDT Model 155F COIL 24VAC; 1/8HP 5A 120VAC; 1/4HP 5A 277VAC; | DELTROL CONTROLS | 29628-60 | 1 | pcs | 100 | 100 | Made in USA (refurbished): DC8634
| RMB Rate-Master® SCFH (N2) 44 PSIG Flowmeter | DWYER | 57-168574-00 | 3 | pcs | 75 | 225 | Made in USA (refurbished)
| FAN AXIAL 12V DC (119x119x25) 270mA 3.2W 82CFM 38dBA (Volt. Range 7-12.6V) UL/CSA/VDE | EBM PAPST | 4412F/2M | 5 | pcs | 20 | 100 | PULL
| CONN. 20 POS. CARD EDGE 5A 250V w/ solder eyelets & mtg. holes | EDAC | 307-020-500-202 | 1 | pcs | 10 | 10 | Made in Canada
| CONN. 56 POS. CARD EDGE 5A 250V w/ solder eyelets & mtg. holes | EDAC | 307-056-500-305 | 1 | pcs | 10 | 10 | Made in Canada: DC9450 (refurbished)
| CONN. 72 POS. CARD EDGE 5A 250V w/ solder eyelets & mtg. holes | EDAC | 307-072-500-305 | 2 | pcs | 15 | 30 | Made in Canada: DC9448 (refurbished)
| CONN. 100 POS. CARD EDGE 3A 250V w/ solder eyelets & mtg. holes | EDAC | 345-100-500-202 | 3 | pcs | 15 | 45 | Made in Canada: (refurbished)
| CONN. 100 POS. CARD EDGE 3A 250V TH PCB w/ mtg. holes | EDAC | 345-100-520-202 | 3 | pcs | 15 | 45 | Made in Canada: (refurbished)
| DIXIE BUZZER 6VAC 1.2A 7.2VA DC Coil Res.: 1.0 ohm (Dim. 1 3/4" x 2 3/4") | EDWARDS SIGNALING | 725 | 24 | pcs | 5 | 120 | Made in Canada
| 2 Line EMC Filters 16A 250V 2-LINE | EPCOS | B84142-B16-R | 1 | pcs | 150 | 150 | Refurbished (epoxy sealed)
| CIRCUIT BREAKER 5A | ETA | 2-5700-IG1-P10-5A | 2 | pcs | 10 | 20
| Hardware Kit for EXIII Box | EUROBEX | STK-K-02700 | 1 | pcs | 5 | 5 | Made in Taïwam
| 4S Serial RS-232 Adapter - PCI Express CARD | EXSYS | EX-44094 | 2 | pcs | 50 | 100
| HPS HORTILUX LAMP 1000W 145,000 Lumens 24,000 Hrs MOL/Dia. 15.062" OD: 3.125" (ANSI CODE S52) | EYE LIGHTING INTERNATIONAL | LU1000B/HTL/EN | 12 | pcs | 69 | 828 | 6/box
| FUSE 3/4A FAST ACTING (IR: 35A 250VAC; IR: 10KA 125VAC) | FERRAZ SHAWMUT | GGM3/4 | 5 | pcs | 0.5 | 2.5 | Made in TAIWAN
| FUSE 0.7A FAST ACTING (IR: 35A 250VAC; IR: 10KA 125VAC) | FERRAZ SHAWMUT | GGM7/10 | 5 | pcs | 0.5 | 2.5 | Made in TAIWAN
| DIGITAL THERMOMETER | FLUKE | 2160A | 3 | pcs | 500 | 1500 | Made in USA (refurbished)
A0378809 | ROUND CABLE SUPPRESSION CORES .402" OD max W/plastic clamp (Black) (210/box) | FAIR-RITE PRODUCTS | 0443167251 | 21 | pcs | 3.5 | 73.5
| 9V BATTERY CHARGER NiCd/NiMH Input: 230VAC 50Hz 5.1mA 1W; Output: 10.15VDC 15mA 0.15VA; Type FW5099 | FRIWO | EC109EURO | 15 | pcs | 10 | 150 | Made in Germany
| F35/WW/U/6/WM, 35W, Miser, T12, 6`` Leg Spacing, Warm White, U Shaped Bulb, Medium Bi-Pin Base, Nominal Length = 22.5``, 14,000 Hours, 2350 Initial Lumens, 3000 Kelvin Color Temperature, CRI=52. | GENERAL ELECTRIC | 12207 | 12 | pcs | 10 | 120 | Made in USA
| CAPACITOR 20uF 480VAC 3% 50/60 Hz 90C (OVAL 4" H) | GENERAL ELECTRIC | 27L602RC | 2 | pcs | 10 | 20 | Made in MEXICO: DC 2702, 2721
| Double Pole Lighting Contactor Auxiliary Contacts 10A 600VAC Wire range #22-12 (460 LINE) | GENERAL ELECTRIC | CR460XB2 | 1 | pcs | 14 | 14 | Made in Italy
| ECM MOTOR 1HP 120/240V OD: 5.5" H: 3" | GENERAL ELECTRIC | ECM2.3 | 1 | pcs | 50 | 50 | DC 09/19/06 (Lennox # 39L2901) voir Trane plus bas
| BulbMatrix Replacement F24BX/830 GE 24W 2G11 3K F27BX/SPX30 13 30615/16944 GE BIAX F24BX/830 GE F27BXSPX30RS | GENERAL ELECTRIC | F24BX/830 | 25 | pcs | 7 | 175
| BACKSHELL #25 | GLENAIR | 380HS003M2516M4 | 1 | pcs | 70 | 70 | DC9610
| SOLID STATE RELAY INPUT 3-32V, Output 240VAC 10A | GORDOS/ CROUZET | G240D10 | 1 | pcs | 30 | 30 | Refurbished: made in MEXICO
| SOLID STATE RELAY INPUT 3-32V, Output 24-280VAC 25A | GORDOS/ CROUZET | G240D25 | 1 | pcs | 30 | 30 | Refurbished: made in MEXICO
| PLUG-IN CLASS 2 POWER SUPPLY Input: 120V 60Hz 60W Output: 24V 40VA (W/ 2A S/B fuse) | HAMMOND | F5-AC2440VA-2S | 6 | pcs | 20 | 120 | Made in Canada
| LCD DISPLAY | HITACHI | LM018 | 18 | pcs | 150 | 2700 | Made in JAPAN
| DISPLAY 4x7 LED matrix arrays with decoder/drivers and memory (Right Hand Decimal Point) | H.P. | 5082-7300 | 5 | pcs | 5 | 25 | DC 8422: pulled
| DISPLAY 4x7 LED matrix arrays with decoder/drivers and memory (Left Hand Decimal Point) | H.P. | 5082-7302 | 5 | pcs | 5 | 25 | DC 8631: pulled
A0344460/ MS25036-154 | 1/4" RING TERM 16-14 BLUE NYLON FUNNEL FIIG (bulk) | HOLLINGSWORTH | XR1906SN (MS25036-154) | 542 | pcs | 0.4 | 216.8
| HARD DISK 9.1 GB USCSI (+5V: 0.8A; +12V: 1.0A) SCI E/LVD CONNECTOR (IBM FRU 36L8773) Mounted on IBM Al Bkt w/ pull handle | IBM | 36L8772 | 13 | pcs | 20 | 260 | Made in Singapore: DC2000 (refurbished)
| DISPLAY 5V 12W( 10"x 4 3/4") | IEE (Industrial Electronic Engineers) | 03601-24-080 | 5 | pcs | 300 | 1500 | Made in USA: DC8847
| MEMORY MODULE 128MB DDR 184 pin SDRAM 333MHz PC2700 CL2.5 16Mx64 | INFINEON | HYS64D16301GU-6-C | 1 | pcs | 10 | 10 | (DC3723A974)
| XEON PROCESSOR 5160 SLAG9; CPU Speed 3GHz; L2 Cache Size 4M; Bus Speed 1333 MHz (LGA771) | INTEL | 3.00GHZ/4M/1333 | 2 | pcs | 50 | 100 | Pulled: made in COSTA RICA (DC3723A974)
RP000496 | 1/4" ACRYLIC SATURATED FIBERGLASS SLEEVING NEMA GRADE C3 (250ft/Roll) BLACK RATED 240 degr. C | JENISCO | AW751-1/4"BLACK | 250 | ft | 0.2 | 50 | Made in USA: 250ft/roll
RP000499 | 3/4" ACRYLIC SATURATED FIBERGLASS SLEEVING NEMA GRADE C3 (50ft/Roll) BLACK RATED 240 degr. C | JENISCO | AW751-3/4"BLACK | 500 | ft | 0.82 | 410 | Made in USA: 50ft/roll
| POWER SUPPLY INPUT: 115VAC 47-440Hz 2.4A or 145VDC OUTPUT 28 +10%/- 30% | KEPCO | RMK28-A | 2 | pcs | 250 | 500 | Made in USA (refurbished): ser. # T45189,T45190
| IC TXRX RS-232 5V ESD 16-SOIC | INTERSIL | HIN202EIBN | 205 | pcs | 0.5 | 102.5 | DC P609B050Made in CHINA
| FIXED TEMP THERMOSTAT DPST (Resistive: 25A @600VAC)(Motor load: 4 FLA-8 LR @ 480VAC) | KLIXON-T.I. | 20491L1-79 | 1 | pcs | 25 | 25 | Refurbished: made in CANADA
JPN10-10R | #10 RING TERM 12-10 YELLOW NYLON FUNNEL (T&R) | K.S.TERMINALS | RNYD5-5-T | 378 | pcs | 0.4 | 151.2
| REG. POWER SUPPLY INPUT: 105-125VAC or 210-250VAC 47-63Hz OUTPUT 28 +/- 5% VDC 2.0A @ 40°C | LAMBDA | LOS-Y-28 | 1 | pcs | 250 | 250 | Refurbished: made in MEXICO
| POWER SUPPLY INPUT: 85-132VAC 51W 47-440Hz OUTPUT +5V: 3A; +12V: 1,2A; -12V: 0,3A | LAMBDA | LVT-41-133-B | 5 | pcs | 150 | 750 | Made in Malaysia/SINGAPORE (refurbished)
| REG. POWER SUPPLY INPUT: 105-132 VAC or 130-160 VDC 47-63Hz OUTPUT 28 +/- 5% VDC 2.8A @ 40°C; 120W max | LAMBDA | LYS-Y-28 | 1 | pcs | 250 | 250 | Made in MEXICO (refurbished)
| VSP CONTROL MODULE for CB31MV-51/65 (incl. ECM MOTOR 1HP 120/240V OD: 5.5" H: 3" + PCB assy P/N 40K82) + hardware) | LENNOX | 66K60 | 1 | pcs | 100 | 100 | DC 09/19/06 (Lennox # 39L2901+ 40K82)
R0111918 | 1/4" rubberized SLEEVING white (precut to 22 inches) | LG Technologies | R0111918 | 300 | ft | 0.2 | 60
| RF MODULE RECEIVER (SMD 10) | Linx Technologies | RXM-433-LC-R | 13 | pcs | 15 | 195 | Made in USA: DC 3502, 3505 (refurbished)
| RF MODULE TRANSMITTER (SMD 8) | Linx Technologies | TXM-433-LC-R | 240 | pcs | 8 | 1920 | Made in USA: DC 3005, 3006 (refurbished)
| RELAY Output Module; Output Device:Triac; Output Voltage Max:140VAC; Control Voltage Max:12VDC | MAGNECRAFT | W226R-7-12A1 | 7 | pcs | 15 | 33.7 | Made in Mexico: D 9016 (used)
| Cap. 5000uF 75V 10% Screw type (50x105mm) max surge 95VDC | MALLORY | CGS502U075DFI | 2 | pcs | 6.7 | 33.7 | Made in Canada
| Cap. 51000uF 50VDC 10% Screw type (3"x6") max surge 75VDC | MALLORY | CG513U050X5R3PH | 2 | pcs | 25 | 50 | Made in Canada
| SOLID STATE MOTOR TORQUE MULTIPLIER for PSC MOTORS 277V max (1/2 TO 10HP) | MARS | 32702 | 1 | pcs | 20 | 33.7 | Made in USA (SEALED BAG)
| Push Button Switch 20A 125-250VAC 50/60Hz (tabs 0.250") | McGILL | 2609-1010 | 1 | pcs | 3 | 33.7 | Made in USA (refurbished)
| RELAY 24VAC (5A, 1/8HP @120VAC) (10A, 1/3HP @120VAC) | TYCO/ MIDTEX | 157-23Q0A3 | 1 | pcs | 5 | 33.7 | Rrefurbished
| PROGR. CONTROLLER 100-240VAC 50/60Hz 50VA Max Output: 30VDC/240VAC 2A | MITSUBISHI/MELSEC | FXON-24MR-ES/UL | 1 | pcs | 150 | 33.7 | Made in JAPAN (refurbished):
APB00036 | FEM TERM #18 JVC SERIES (5000/RL) | MITSUBISHI CABLE AMERICA | MT095-50230 | 12100 | pcs | 0.0892 | 1079.32 | Made in Japan: 2100+ 2x5000
APB00037 | CONN 4 POS FEM JVC SERIES GREY | MITSUBISHI CABLE AMERICA | PB185-04326B | 2615 | pcs | 1.67 | 4367.05 | Made in Japan
APB00038 | SEAL 18-20 (2.1mm MAX) JVC SERIE PURPLE (1K/sealed bag) | MITSUBISHI CABLE AMERICA | RS460-01801 | 11625 | pcs | 0.2 | 2325 | Made in Japan
APB00039 | BOUCHON/PLUG JVC SERIES BLUE (1K/sealed bag) | MITSUBISHI CABLE AMERICA | RS460-02000 | 4890 | pcs | 0.163 | 797.07 | Made in Japan
| Contact element, one contact (for use w/ CIRCUIT BREAKERS OR PUSH BUTTONS) | MOELLER ELECTRIC | EK01 | 1 | pcs | 5 | 33.7 | Made in GERMANY
| CIRCUIT BREAKER MINIATURE 277-480VAC 6kA, 2-POLE DIN RAIL MOUNT (UL/CSA/CE) | MOELLER ELECTRIC | FAZ-2-S10 | 1 | pcs | 50 | 33.7 | Made in EUROPE (refurbished):
| CIRCUIT BREAKER Type C, 2, 16A, 6kA, 230 → 400V 50/60Hz DIN RAIL MOUNT | MOELLER ELECTRIC | FAZ6-2-C16 | 1 | pcs | 50 | 33.7 | Made in EUROPE (refurbished):
| CIRCUIT BREAKER MINIATURE 277-480VAC 6kA, 2-POLE w/ 2 protected poles DIN RAIL MOUNT (UL/CSA/CE) | MOELLER ELECTRIC | FAZNC10-2 | 2 | pcs | 50 | 33.7 | Made in EUROPE (refurbished):
| EZ-MDVO UTP MODULE,POWERSUM CAT5-T568A JACK RJ45 (NXM1UBNA-03) UL/CSA | NORDX/CDT | AX100129 | 80 | pcs | 3.7 | 33.7 | Made in CANADA: DC 1999 (sealed bag)
| POWER SUM CAT 5; PS5 BIX PATCH PANEL, 2U, T568A, 24-PORT RJ45 (NXPPB2U24AG) grey UL/CSA incl. PX100981 hardware kit | NORDX/CDT (BELDEN) | AX100505 | 1 | pcs | 100 | 33.7 | Made in Mexico
| DIGITAL PANEL METER 3,5W 120VAC | OMEGA/ NEWPORT | 269-TF | 1 | pcs | 340 | 340 | DC1991
XQ2000-BCR5 | DIGITAL PANEL METER 3,5W 115VAC sisplay 0-1,999VDC | OMEGA/ NEWPORT | Q2000A | 2 | pcs | 342.5 | 685 | DC1986-1987
| DIGITAL PANEL METER | OMEGA/ NEWPORT | P6021 | 1 | pcs | 340 | 340 | M.C. used
| RELAY POWER 4PDT 1HP 15A 120VAC; 15A 28VDC; COIL 120VAC (CSA/UL) | OMRON | G4B-112T1-US-AC120 | 1 | pcs | 12 | 12 | Made in JAPAN (refurbished):
| RELAY POWER SPDT 5A 240VAC; 5A 28VDC; COIL 100/110VAC PLUG LED INDICATOR (CSA/UL) | OMRON | MY4N-AC100/110 | 2 | pcs | 6 | 12 | Made in JAPAN (refurbished):
| RELAY SOCKET 4PDT DIN RAIL (BLACK) | OMRON | PYF14A | 2 | pcs | 6 | 12
| Module, DC Input; 10 to 32 VDC; 25 mA (Max.); 5 ms; 5 ms; 5 VDC | OPTO 22 | G4IDC5 | 3 | pcs | 10 | 30 | Made in USA (pulled): DC1997
| I/O Module, AC Output, 12-140VAC, 5VDC, Logic | OPTO 22 | G4OAC5 | 9 | pcs | 10 | 90 | Made in USA (pulled): DC1997
| Module, Digital Output; G4; 5-60 VDC Output; 3 A @ 45 deg C; 4000 VRMS Isolation | OPTO 22 | G4ODC5 | 9 | pcs | 10 | 90 | Made in USA (pulled): DC1997
| I/O Module, AC Output, 24-280VAC, 5VDC, Logic | OPTO 22 | G4OAC5A | 7 | pcs | 10 | 70 | Made in USA (pulled): DC1997
| SOLID STATE RELAY 2 A (Nom.); 120 VAC; 5 mA (Max.) Off-State (UL/CSA) | OPTO 22 | MP120D2 | 1 | pcs | 15 | 15 | Made in USA (pulled): DC0189
| RACEWAY ADAPTER FOR LD BREAKOUT (10 pcs / bag) Rigid PVC White | PANDUIT | BA6IW-X | 3 | pcs | 15 | 45 | Made in USA
| FITTING FOR TYPE LDP SURFACE RACEWAY, INSIDE CORNER, USE WITH LDP3 (Rigid PVC Ivory) | PANDUIT | DCEFXEI-X | 10 | pcs | 5 | 50 | Made in USA (Box 10 1/2" x 13" x4")
| FITTING FOR TYPE LDP SURFACE RACEWAY, INSIDE CORNER, USE WITH LDP3 (Rigid PVC Ivory) | PANDUIT | ICFC3EI-X | 1 | pcs | 3.45 | 3.45 | Made in USA
| FITTING OUT COR LD/LDP/CD10 (Rigid PVC White) | PANDUIT | OCFX10WH-X | 1 | pcs | 1 | 1 | Made in USA
| TYPE "L" or TYPE "C" RACEWAY RIGHT ANGLE FITTING FOR USE WITH LD3.CD3 (Rigid PVC White) | PANDUIT | RAF3WH-E | 4 | pcs | 1.5 | 6 | Made in USA
| TYPE "L" or TYPE "C" RACEWAY RIGHT ANGLE FITTING (Rigid PVC White) | PANDUIT | RAF5WH-X | 1 | pcs | 1.75 | 1.75 | Made in USA
| 3'W floor display includes: dark gray metal base, (3) slotted steel vertical rails, (2) painted pegboard backs (24"W and 12"W); (1) angled PANDUIT wing panel; (1) top cap; (1) bolt-on 12"H header insert panel. | PANDUIT | SA109N50-3A | 6 | pcs | 250 | 1500 | Made in USA
| RELAY 12VDC 6A/250VAC TH (5 leads)(UL/CSA/VDE) | PHOENIX | 2961150 | 2 | pcs | 10 | 20
| TERM. BLOCK 12VDC 6A/250VAC PLC-BSC-12DC/21(UL/CSA/VDE) GREEN | PHOENIX | 2966896 | 1 | pcs | 10 | 10
| TERM. BLOCK 24VDC 6A/250VAC PLC-BSC-24DC/21-21 (UL/CSA/VDE) GREEN | PHOENIX | 2967015 | 1 | pcs | 20 | 20
| POWER SUPPLY INPUT: 100-240V 3.2A Max 47-63Hz OUTPUT +5VDC 10A;+24VDC 3A; +/-12VDC 1A; | POWERBOX | PU110-45-2C | 1 | pcs | 100 | 100 | Refurbished: made in CHINA
| POWER SUPPLY OUTPUT 24VDC at 1.2A | POWER ONE | HB24-1.2-A | 1 | pcs | 50 | 50 | Made in USA (refurbished)
| POWER SUPPLY OUTPUT 5VDC at 6A w/OVP; +/- 12VDC at 1.7A; +/- 15VDC at 1.5A | POWER ONE | HCBB-75W-A | 1 | pcs | 50 | 50 | Made in USA (refurbished)
| D.C. POWER SUPPLY INPUT: 110V/60Hz: 3.3A; 230V560Hz: 1.8A; MAX OUTPUT 130W CONT | POWER ONE | MAP130-4001 | 1 | pcs | 50 | 50 | Made in USA (refurbished): DC OCT/15/1999
| MEMORY MODULE 256MB DDR 184 pin SDRAM 333MHz PC2700 CL2.5 32Mx64 | QIMONDA | HYS64D32300HU-6-C | 3 | pcs | 10 | 30 | Pull; made in Malaysia
| 240-Pin Fully-Buffered DDR2 SDRAM Module | QIMONDA | HYS72T128420HFN-3S-B | 2 | pcs | 25 | 50 | Made in Malaysia
| H/S 1/4" CABLE MARKER 2" WIDE w/ scoring in the middle (WHITE) | RAYCHEM | RPS-1K-16-10/2.0-S1-9 | 1000 | pcs | 0.35 | 350 | Made in USA: BOX 6"x6"x6" (DC 8/01)
| H/S 1/2" CABLE MARKER 2" WIDE w/ scoring in the middle (WHITE) | RAYCHEM | RPS-10-2/2.0-S1-9 | 500 | pcs | 0.5 | 250 | Made in USA: BOX 6"x6"x6" (DC 8/98)
| H/S 1/2" CABLE MARKER 2" WIDE (WHITE) | RAYCHEM | RPS-10-2/2.0-9 | 400 | pcs | 0.5 | 200 | Made in USA: BOX 6"x6"x6": 150+250 (DC 11/94)
| H/S TUBING 1/8" MARKER # 0 (BLACK) | RAYCHEM | TRSA-1010/C/1/0 | 100 | pcs | 0.05 | 5
| H/S TUBING 1/8" MARKER # 3 (ORANGE) | RAYCHEM | TRSA-1013/C/1/3 | 200 | pcs | 0.05 | 10
| H/S TUBING 1/8" MARKER # 6 (BLUE) | RAYCHEM | TRSA-1016/C/1/6 | 65 | pcs | 0.05 | 3.25
| H/S TUBING 1/8" MARKER # 7 (PURPLE) | RAYCHEM | TRSA-1017/C/1/7 | 78 | pcs | 0.05 | 3.9
| H/S TUBING 1/8" MARKER # 8 (GREY) | RAYCHEM | TRSA-1018/C/1/8 | 78 | pcs | 0.05 | 3.9
| H/S TUBING 1/8" MARKER # 9 (WHITE) | RAYCHEM | TRSA-1019/C/1/9 | 400 | pcs | 0.05 | 20
| POWER RELAY 8 PIN DPCO 10A 1/6HP 120VAC Series:C2; RoHS Compliant | RELECO (TURCK) | C2-A20X/120VAC | 7 | pcs | 15 | 105 | Made in SPAIN
| POWER RELAY 11 PIN 3PCO 10A 1/6HP 120VAC Series:C2; RoHS Compliant | RELECO (TURCK) | C3-A30X/120VAC | 8 | pcs | 18 | 144 | Made in SPAIN
APB00075 | RUBBER BOOT for 0,180" WIRE (OVAL 0,30"x0,48") L: 2,15" BLACK | ROBERT BOSCH CORPORATION | 1280703026 | 8532 | pcs | 0.36 | 3071.52 | 1 280 703 026 (VTT: pallet in rec'd): 2000+3000+3532
APB00018 | CONN 3 POS FEM CONTACT BLACK (500/BOX) | ROBERT BOSCH CORPORATION | 1928403110 | 14607 | pcs | 0.791 | 11554.137 | VTT (pallet in rec'g): 24x500 + 2607 + sac de 14 (small bin)
| MEMORY MODULE 512MB DDR SDRAM PC3200 400MHz 184 pin CL3 2.5V ECC Registered 64Mx72 5ns | SAMSUNG | M312L6523DZ3-CCC | 4 | pcs | 10 | 40 | PULL
| Two-Phase RFI Filter 6A 250V 50/60z Term. Type:Quick Connect | SCHAFFNER | FN660-6/06 | 3 | pcs | 20 | 60 | Made in Thailand: DC 0331Refurbished (epoxy sealed)
| Two-Phase RFI Filter 10A 250V Cap 0.15uF Ind. 0.45uH; Term. Type:Quick Connect | SCHAFFNER | FN660-10/06 | 2 | pcs | 10 | 20 | Made in Switzerland/Thailand: Refurbished (epoxy sealed)
| Two-Phase RFI Filter 6A 250V 50/60z Term. Type:Quick Connect 0.250" | SCHAFFNER | FN670-6/06 | 1 | pcs | 30 | 30 | Made in China: DC 0637R
| RELAY PWR DPDT 8A 24VDC PCB (orange) | SCHRACK | RTE24024 | 2 | pcs | 2.5 | 5 | Made in Austria
| HARD DISK 18.2 GB USCSI (+5V: 0.95A; +12V: 1.5A) SCSI CONNECTOR (IBM P/N 10L6046 IBM FRU 10L6047) Mounted on IBM Al Bkt P/N 01K8500 FRU P/N 02K0462 w/ pull handle | SEAGATE | ST118202LC | 3 | pcs | 20 | 60 | Made in Singapore: DC1998 (refurbished)
| MiniSKiiP 1 - 1-phase bridge rectifier + 3-phase bridge inverter | SEMIKRON | SKIIP10NEC06IT5 | 1 | pcs | 10 | 10 | Refurbished: DC01435
| MiniSKiiP 1 - 1-phase bridge rectifier + 3-phase bridge inverter | SEMIKRON | SKIIP10NEC063T1 | 2 | pcs | 10 | 20 | Refurbished: DC
| SEMIPACK1 Thyristor / Diode Module | SEMIKRON | SKKT91/14E | 2 | pcs | 20 | 40 | Refurbished: DC00232
| CONTACTOR,NONREV,S00,9A,120VAC,3P,SCRW | SIEMENS | 3RT1016-1AK61 | 1 | pcs | 25 | 25 | Made in Germany
| CONTROL TRANSFORMER 50VA 550/575/600-115 (UL/CSA) | SIEMENS | MT0050E | 1 | pcs | 25 | 25 | Made in Switzerland/Thailand: Refurbished (epoxy sealed)
| GROUND FAULT CIRCUIT INTERRUPTER 120/240VAC 2 POLES Type QPF (UL/CSA) | SIEMENS | QF230 | 1 | pcs | 40 | 40 | Made in Mexico
| CAP AL ELECTR. 2700uF 25VDC (1,453''x2,250'') +85°C SCREW : 0,5" | SPRAGUE | 36D272G025AA2A | 4 | pcs | 10 | 40 | Made in USA): DC8847
| CONTACTOR 4PST (NO) 24V DC COIL (UL/CSA/CE) | SPRECHER + SCHUH | CA3-9C | 1 | pcs | 25 | 25 | Made in Switzerland: Refurbished
| Electronic and Instrument Enclosure (3 3/4" x 6.63" x 4" H) "Small Junction" Series (UL/CSA) POLYESTER Grey w/ plastic cover Moeller #KCS1 (1 3/8" center opening) UPC #20014 | STAHLIN ENCLOSURES | CF644 | 2 | pcs | 25 | 50 | Made in USA
APB00051 | FEM TERM 16-20 SERIE 090 (Loose) | SUMITOMO WIRING SYSTEMS INC | 1500-0106 | 155 | pcs | 0.1 | 15.5 | Made in Japan: BAG
APB00096 | FEM CONN 3 POS (TRIANGLE) MT090 SERIE WHITE (100/sealed bag) | SUMITOMO WIRING SYSTEMS INC | 6180-3241 | 3040 | pcs | 0.226 | 687.04 | DC 11-1999: made in USA (1 box)
J6180-3541 | CONN 3 POS MALE (ROUND) 0,250" SERIE WHITE | SUMITOMO WIRING SYSTEMS INC | 6180-3541 | 5 | pcs | 0.55 | 2.75 | Made in Japan
APB00084 | CONN FEM 2x3=6 POS MT090 SERIES WHITE (100/sealed bag) | SUMITOMO WIRING SYSTEMS INC | 6180-6181 | 17216 | pcs | 0.578 | 9950.848 | DC 03-2000: made in USA (3x3K + 1x5K + 1x3216)
APB00115 | MALE CONN 3 POS (TRIANGLE) MT090 SERIE WHITE | SUMITOMO WIRING SYSTEMS INC | 6187-3231 | 5500 | pcs | 0.51 | 2805 | Made in Japan: 1500+ 2x2K
APB00074 | BOUCHON/PLUG SERIE MT090 BLACK | SUMITOMO WIRING SYSTEMS INC | 7160-9465 | 300 | pcs | 0.073 | 21.9 | Made in Japan
APB00073 | 3 POS SEAL SERIE 250 BLACK (500/bag) | SUMITOMO WIRING SYSTEMS INC | 7161-3224 | 3633 | pcs | 0.192 | 697.536 | Made in Japan (1 box)
J8230-4042 | ,016"x,250" MALE TERM. #14-20 HM series (LOOSE) | SUMITOMO WIRING SYSTEMS INC | 8230-4042 | 22 | pcs | 0.2 | 4.4 | Made in Japan: 82304042 (bag)
R0108016 | PVC HEAT SHRINK TUBING 1/2" (BLACK) wall thk ,025-,030" | SUMITOMO WIRING SYSTEMS INC | V 1/2" BLK- 200FT/RL | 1000 | ft | 0.655 | 655 | 5 spools x 200ft/box + Alpha FIT-105-1/2
| BOOTED PUSHBUTTON OPERATOR | TELEMECANIQUE | XAC-B9213 | 10 | pcs | 1.4 | 14 | Made in Spain
| Limit Switch Body+Contact Assembly, Type: XCKL | TELEMECANIQUE | XCKL106 | 1 | pcs | 75 | 75 | Made in France
| CONTACTOR BLOCK 8 POS. | TELEMECANIQUE | LA1-DN22 | 1 | pcs | 20 | 20 | Made in France: DC9838
| ADAPTOR PLATE INTERMEDIAIRE 30mm-22mm (sealed bag) | TELEMECANIQUE | ZB2-BZ4 | 1 | pcs | 5 | 5 | Made in France
| PILOT LIGHT HEAD YELLOW, panel cut-out:22mm; Lamp fitting type:BA9s (incl.) | TELEMECANIQUE | ZB4-BV05 | 29 | pcs | 5 | 145 | Ass'd in Mexico: DC 00607 (each: 1 1/2"x4"x 1 1/4")
| PUSHBUTTON GREEN, panel cut-out:22mm (SEALED BAG) | TELEMECANIQUE | ZB5-AA3 | 2 | pcs | 5 | 10 | Ass'd in Mexico: DC 0814
| PUSHBUTTON RED, panel cut-out:22mm (SEALED BAG) | TELEMECANIQUE | ZB5-AA4 | 2 | pcs | 5 | 10 | Ass'd in Mexico: DC 0816
| PUSHBUTTON BLUE, panel cut-out:22mm (SEALED BAG) | TELEMECANIQUE | ZB5-AA68 | 2 | pcs | 5 | 10 | Ass'd in Mexico: DC 0552
| PUSHBUTTON HEAD ILLUM. YELLOW RECT, panel cut-out:16mm (SEALED BAG) | TELEMECANIQUE | ZB6-DW5 | 10 | pcs | 5 | 50 | Ass'd in Mexico: DC 0533
| Limit Switch Lever | TELEMECANIQUE | ZCKY41 | 1 | pcs | 10 | 10 | Made in Brazil
| THERMOSTAT SNAP ACTION 71.1 degr.C +/- 5*C w/ airstream mount, 1/4"x 3/8" electrical spacings & normally closed contacts | THERMODISC | 60TX11 | 4 | pcs | 5 | 20 | Refurbished: DC 8726
| THERMOSTAT SNAP ACTION 71.1 degr.C +/- 5*C w/ manual reset, airstream mount & 1/4"x 3/8" electrical spacings | THERMODISC | 60TX15 | 2 | pcs | 5 | 10 | Refurbished: DC 1998
| ENCAPSULATED CONTROLLER Input 1: 0-10VDC sigmal or proportional pulse AC/DC Input 2: proportional Air Flow sensor; Output: One SCR load | THERMOLEC | D21-P | 1 | pcs | 25 | 25 | Made in USA
| ENCAPSULATED CONTROLLER Input 1: 0-10VDC sigmal or proportional pulse AC/DC Input 2: proportional Air Flow sensor; Output: Two SCR loads | THERMOLEC | D22-P | 1 | pcs | 25 | 25 | Made in USA
| NOISE FLITER 250VAC/DC 2A 5-/60hZ -25/+85 C/ HPF (CSA/UL) | TOKIN | MR-2021 | 1 | pcs | 10 | 10 | Made in Japan: pull
| CONN 2x5 = 10 POS (HA10.BU.S.OBS.B1-10) | TYCO (AMP) | 0-1103415-8 | 2 | pcs | 10 | 20
| SL-156 RCPT CONTACT #18-24 TIN-LEAD over Ni | TYCO (AMP) | 640252-1 / 640706-2 | 6100 | pcs | 0.03 | 183 | 23" reel: DC 9510 (made in USA)
| CONN PLUG 4 POS MINI UNIV-MATE 2 | TYCO (AMP) | 794188-1 | 108 | pcs | 0.5 | 54
| ECM MOTOR 1HP 120/240V OD: 5.5" H: 3" (wired for 208/230V 6.9A 60Hz Rotation CW REV.00) | TRANE | MOD01385 | 4 | pcs | 50 | 200 | DC 10-26-2007 (voir G.E. plus haut)
| POWER GENERATOR 45KHz 48VDC " 1A (8 5/8" x 5 1/4" x 2 3/4") | Ultrasonic Systems Inc. USA | 4.0302.012.0 | 1 | pcs | 200 | 200 | Used
| 9V BATTERY CHARGER NiCd ACCU Input: 230VAC 50Hz 1.6VA 1W; Output: 9VDC 11mA 0.1VA; Type FW4009 | VARTA | 57023 091 101 | 2 | pcs | 10 | 20 | Made in Germany
| C3 PROCESSOR 750MHz (100x7.5) | VIA | VIAC3-750AMHZ | 7 | pcs | 30 | 210 | Pulled
| DC-DC CONVERTER Input: 375V, 666.7W ; Output 28V, 600W | VICOR | V375A28C600A | 1 | pcs | 500 | 500 | Made in USA
PVI-910119 | DC-DC CONVERTER Input: 375V, 674W ; Output 28V, 600W | VICOR | VI-910119 | 2 | pcs | 570.5 | 1141 | Made in USA
| BOOSTERHAM INDUSTRIAL Input: 135-354VDC, 675W Max; Output 250-400V, 600WMax | VICOR | VI-HAMD-IM | 2 | pcs | 340 | 680 | Made in USA
| Resistor Metal Film 75K0 1/10W 1% ±50ppm/°C AXIAL Thru-Hole Bulk (100/box) | VISHAY | RN55C7502FB14 | 1000 | pcs | 0.1 | 100 | Made in Mexico
| Cage Clamp Front-Entry Through Terminal Blocks 4 Cond.#16-28 UL/CSA 600V 10A GREY (IEC 60947-7-1) | WAGO | 279-831 | 25 | pcs | 2 | 50 | Made in Germany
| CONN. 2x12 POS. SLD 3.5/24/90G4.5SN SW CSA 300V 10A BLACK | WEIDMULLER | 1634370000 | 59 | pcs | 7 | 413 | Made in Germany (10/box)
| TERM. BLOCK 3 POS. PCB LP 5.08/3/90 4.5 SW CSA 300V 10A AWG 26-14 BLACK L.S.: 0.200" | WEIDMULLER | 1696050000 | 300 | pcs | 1.4 | 420 | Made in Germany (100/box)
| TERM. BLOCK 3 POS. PCB LP1N 5.08/3 4.5 SW CSA 300V 10A AWG 26-14 BLACK | WEIDMULLER | 1698040000 | 200 | pcs | 2 | 400 | Made in Germany (100/box)
| TERM. BLOCK 10 POS. BL 5.08/10 SN SW CSA 300V 10A AWG 26-14 BLACK | WEIDMULLER | 1716550000 | 260 | pcs | 3 | 780 | Made in Germany (50/box)
| Feed-through terminal WDU 2.5, 2.5 mm², Screw connection, Wemid, dark beige, TS 35 | WEIDMULLER | 1020000000 | 32 | pcs | 1.2 | 38.4 | Made in Germany
| AC/DC Input Module (Input:10-60V AC/DC; Output 30VDC 50mA) | Western Research Controls | 1781-IN5S | 5 | pcs | 10 | 50 | Made in Taïwan: pulled (DC9012)
| DC Output Module (Input: 5VDC; Output 5-200VDC 1A) | Western Research Controls | 1781-OC5S | 8 | pcs | 10 | 80 | Made in Taïwan: pulled (DC9026)
| Snap Action Heat Thermostat Low voltage | White Rodgers | 1C20-101 | 1 | pcs | 15 | 15 | Made in China
| COVER STRIP for jumper bar for 10 terminals AD VB 6/10 GELB (DUO-MODULAR TERMINALS TYPE WK 4/D …) YELLOW | WIELAND | 04.342.0656.8 | 19 | pcs | 1 | 19 | Made in Germany
| FEM. TERM. # 18 (STRIP FORMED) | YAZAKI NORTH AMERICA INC | 7116-1680-02 | 13700 | pcs | 0.027 | 369.9 | Made in Japan
APB00056 | THERMAL SEAL SHUR-PLUG REC.W/Prot. CAP for 1 WIRE (1K/bag) | YAZAKI NORTH AMERICA INC | 7120-1151 | 6200 | pcs | 0.018 | 111.6 | Made in Japan: DC2000
APB00055 | THERMAL SEAL SHUR-PLUG REC.W/Prot. CAP for 2 WIRES (1K/bag) | YAZAKI NORTH AMERICA INC | 7120-1152 | 14000 | pcs | 0.084 | 1176 | Made in Japan DC 2001: 14K/box=55lbs
J7157-395160 | SEAL GREEN #20-22 (SSD SERIES) | YAZAKI NORTH AMERICA INC | 7157-3951-60 | 1268 | pcs | 0.072 | 91.296 | Made in Japan
J7157-460380 | LOCK 3 POS. (SSD SERIES) | YAZAKI NORTH AMERICA INC | 7157-4603-80 | 5050 | pcs | 0.125 | 631.25 | Made in Japan
J7283-873240 | FEM. CONN. 3 POS. SSD SERIES | YAZAKI NORTH AMERICA INC | 7283-8732-40 | 4082 | pcs | 1.89 | 7714.98 | Made in Japan
74844.121
Pls contact Michel Charlebois at:
mdcharlebois@videotron.ca
for price validation and parts availability
or dial 514-452-3538
Note on I32: Michel Charlebois: stored in A.D. box
Note on C96: Michel Charlebois: by Regal-Beloit
Note on I53: Michel Charlebois: de Smiths entreposé sous-sol avec Ledoptix
Note on B137: Michel Charlebois: incl. Relay SCHRACK # RTE24024
Note on E177: Michel Charlebois: vendu 42K <Tradeline 12 mars 2003
Note on C73: Michel Charlebois: by Regal-Beloit
Note on D161: Michel Charlebois: installed on Phoenix 2967015
Note on E78: Michel Charlebois: 4 sold on May 12, 2009